Architectural & Engineering Specification

Fastlane® Clearstyle 200 Optical Turnstile

Part I – General

  - CSI Master format sections

- Section 11 14 00    Pedestrian Control Equipment (Gates/Turnstiles)

- Section 28 10 00    Electronics Access Control and Intrusion Detection

- Section 28 16 00    Intrusion Detection

  - references

- The Power supply unit (PSU) shall be certified under UL 60950-1, second edition and CSA C22.2 No. 60950-1-07, second edition (supplied by manufacturer of turnstiles).

- The Optical Turnstile must be CE marked in accordance with following the European Directives.

- Electromagnetic Compatibility EU Directive 2004/108/EC

- Low Voltage EU Directive 2006/95/EC

  - Quality Assurance

- Manufacturer must operate a Quality Management System that meets the ISO 9001:2008. International Standard for design, development, and manufacturing activities, including associated software products.

- Manufacturer shall be a global supplier specializing in the design and manufacture of automatic security turnstiles with a minimum of twenty (20) years experience.

- Installer shall have a minimum of three (3) years experience installing Fastlane turnstiles or similar equipment or shall supply a manufacturer-trained technician for Site Certification & Training following installation of the Fastlane Optical Turnstiles.

  - Submittals

- Submit manufacturer’s product literature including datasheet and drawing pack for specific model, including options.

- Provide high resolution photo.

- Provide, upon request, Fastlane Clearstyle 200 Installation & Maintenance manual.

- Provide, upon request, site specific drawings detailing product placement, arrangement and wiring.

  - Delivery, Storage, and Handling

- Deliver equipment and materials to specified location in manufacturer’s packaging undamaged, complete with installation instructions.

- Store off ground, under cover, protected from weather and construction activities. For periods of extended storage the equipment will be kept in an environment that regulates temperature and humidity.

- Use forklift, pallet jack, or specified number of personnel for moving equipment, observing manufacturer’s safety instructions at all times.

  - Project/Site conditions

- Install Fastlane Clearstyle Optical Turnstile on level, finished floor, and in strict accordance with manufacturer’s installation chapter in the provided Installation & Maintenance manual.

- Install Fastlane Clearstyle Optical Turnstile on manufacturer-supplied Floor Protector System to rest on a level finished floor.

  - Warranty:

- Manufacturer's standard form in which manufacturer agrees to repair or replace components of optical turnstile system that fail in materials or workmanship within specified warranty period. Failures include, but are not limited to, the following: faulty circuit boards (PCB), infrared beams and power supply modules. Warranty Period: 3 years from date of shipment with Site Certification & Training, 1 year otherwise.

Part II - Products

  - Manufacturer

- Integrated Design Ltd, United Kingdom
Smarter Security, Inc. is the exclusive distributor in North America and also distributes Fastlane products in Central and South America.

110 Wild Basin Road, #200 Austin, TX 78746  USA
Tel: (512) 328-7277  Fax: (512) 328-7280  Web: www.smartersecurity.com

  - Product

- Fastlane Clearstyle 200 Optical Turnstile, NO SUBSTITUTIONS.

  - Construction

- Exterior:

  - End Panels: stainless steel 304 grade 240 grit (satin #4) horizontal grain (standard).

  - Side Panels: 10mm Green Silica Acrylic (clear glass appearance).

- Interior Chassis:

  - Chassis framework must be black satin, powder-coated mild steel.

  - 10mm bolts (qty.4, supplied) are required to secure the chassis to the floor substrate using a base mounting ring which is in turn mounted to the floor substrate using 3/8” 10mm studs, cable containment is to be centrally located.

- Decorative Tops:

  - Black Perspex®

- Turnstile Status Display

  - Located on the Right Hand Side of each lane viewed from the entrance/exit

  - The Indicator is provided by RGB LEDs diffused through frosted clear acrylic inset into the top of the end panel.

- Enclosure:

- Dimensions

  - Length 24.7“ (627mm), Width 6.9” (175mm), Height 38.2” (1030mm)

  - Foot Print two 6.9” (175mm) Dia baseplate rings spaced 17.8” (452mm) between centers. See Drawing CS200 for more details.

- Pedestal weight 66lbs (30Kg).

- Unit enclosure shall provide an Ingress Protection rating of IP40.

  - Equipment

- General: Two or more adjacent pedestals utilizing pulsed infrared beams to create an invisible electronic field between pedestals, monitoring the passage of individuals entering and leaving a facility, discriminating between people and nuisances (such as common briefcases, umbrellas, and rolling carts), to deter unauthorized individuals from passing through the lane. Lane widths between 21.6” (550mm) and 36” (914mm) may be accommodated subject to the application. All calibrations, feature set selections and diagnostics are built in to the unit managed on board by the relevant processor cards. Must not require a Windows based PC to operate.

- Types of units: The system shall consist of a Transmit Pedestal (TX) and a Receive Pedestal (RX) to provide a single lane, and Interlane Pedestals (INT) to form additional lanes between the RX and TX pedestals.

- Capabilities:

- Detect and deter unauthorized persons from entering into the protected area.

- Detect unauthorized persons more than 5.9” (150 mm) at waist height, behind an authorized person, that is “tailgating” or “piggybacking.”

- Detect direction of movement, that is, entry and exit.

- Verify entry into the protected area following authorization.

- Provide alarm outputs on detection of a violation by means of:

    - Local sounders and indicators

    - Remote sounder output

- Operate in bi-directional, single direction, no entry or free access modes.

- Minimize false alarms through the use of infrared beams connected to intelligent detection algorithms.

- Process a high number of people without security guard intervention, unless access is rejected by the system or a system anomaly occurs.

- Ensure a fast throughput, up to one person per second, subject to the access control system.

- Buffering multiple inputs from an access control system to maximize throughput.

- Easy to use.

- Allow free movement for wheelchair users with ADA width lanes.

- Allow safe emergency egress through a fire alarm input to open the glass panels.

- Entry and exit with an authorized card, biometric, or other credential.

- Entry and exit that is unauthorized causing an alarm.

- Authorized card being read by the system but no entry or exit taking place using an optional alarm configuration.

- Card presented for entry but exit occurring causing an alarm.

- Card presented for exit but entry occurring causing an alarm.

- Obstruction of an infrared beam path causing an alarm.

- Fastlane Optical System

  - Intelligently monitored infrared beam matrix: Up to 6 beam paths per lane.

    - IR Beams with distributed processing for maximum signal analysis. Superfluous user behavior tolerated by the software without generating an alarm condition due to:

      - Partial passage through the beams and moving back out again.

      - Hesitation in the beam field for less than a pre-selected number of seconds.

      - Presenting a card for authorization while within the beam-field, but before completing passage through it.

  - Access request transaction speed: Time delay of no greater than 100ms in signaling passage through the beams and readying the turnstile for the next user except when a greater delay is caused by the attached access control system.

    - The optical system must be capable of throughput of up to 1 person per second.

  - Visitor Management System: Allows an unlimited number of people to pass through the lane. Once the visitors have entered and the system no longer sees anyone entering or exiting for 3 seconds.

- Inputs:

  - Entry Request: Normally Open dry contract. Closing on request for <1 second

  - Exit Request: Normally Open dry contract. Closing on request for <1 second

  - Entry Visitor Request: Normally Open momentary closing switch contacts

  - Exit Visitor Request: Normally Open momentary closing switch contacts

- Outputs:

- Voltage-free relay contacts rated 24Vdc @ 500mA for the following functions for alarm indicators, and to provide turnstile and entry and exit door emulation.

- Output to Access control System:

    - Access monitoring (used as confirmation of access after authorization)

      - Entry: Normally closed (opening for 1s)

      - Exit: Normally closed. (opening for 1s)

    - Alarm 1: Normally closed.(closing for a minimum of 1s)

    - Alarm 2: Normally open (closing for 1s)

- Two-Stage Audio/Visual Alarm System

- First stage notifies user and guard that someone has entered the lane without authorization.

      - Allows user to back up and attempt authorization, before going into a full alarm.

      - Guard becomes aware that a lane violation may occur.

- Second stage notifies user and guard that someone has passed through the lane without authorization.

- Notifies the user that they have passed through the lane without authorization.

- Guard becomes aware that a lane violation has occurred and to take appropriate action.

- Audible Alarms: Provide for each lane triggered in an alarm condition.

- Local alarm sounders.

- Relay Contact: utilized to trigger external alarm systems.

- Status Display: Provide for each lane a visual indication of the status of the lane.

  - Standby – White

  - Please Proceed – Green

  - Red – Lane closed

  - Flashing Red - Alarm.

- Power Requirements:

- Lane Processors :

- Dimensions   11 inches (280mm) high by 81/4 inches (210mm) wide by 25/16 inches (60mm) deep.

b.   24Vdc supply is provided to each remotely located Clearstyle Lane Processor.

c.   Power consumption 0.5A per lane (per Lane Processor).

- Pedestal:  12Vdc is provided to each Clearstyle pedestal post using a supplied CAT5 (terminated with RG45 connectors) cable that is terminated at its respective Lane Processor. The Lane Processor provides the respective 12Vdc supplies.

  - Hazardous voltage must not be present at pedestal to ensure user safety.

- Power Supply Unit:

- PSU to be remotely installed with associated Clearstyle Lane Processors.

- PSU Wall Mounted Metal Enclosure, approximately 13 inches (330mm) long by 8 inches (200mm) wide by 5 ½  inches (136mm) tall.

- PSU input voltage 100Vac to 240Vac at 60/50Hz, connection by 5A fused spur.

- Wiring Requirements:

- Pedestal Wiring: Each Clearstyle Pedestal post requires a CAT5 cable (2No.30m cables per pedestals are supplied) between the Pedestal and the respective Lane Processor.

- Earth Cables: earth connection from each pedestal base ring to earth connection is required, using a green/yellow sleeved cable with a minimum conductor cross sectional area of 18 AWG (1mm2).

- Card Readers: as required by access control system manufacturer (typically mounted to pedestal on the right hand side of the lane entrance). The reader cable shall be routed with the CAT5 cable for the respective Clearstyle Pedestal Post.

- Lane Processor:  The Access Control Lane Integration is provided to the remotely located Clearstyle Lane processor, the Access Control System, Fastlane Power Supplies and Clearstyle Lane processors are typically located together. A 10-conductor cable with a minimum conductor cross sectional area of 0.35mm2 (22 AWG) is recommended for the Access Control Integration.

  - Factory Testing

- Fastlane Clearstyle 200 Optical Turnstile shall be fully assembled and staged as a system at the factory to accommodate soak testing for a period of 48 hours at a minimum to ensure proper operation and electrical connectivity.  System shall be inspected for mechanical, electrical and aesthetic condition prior to packaging and shipment.

  - Security Equipment

- Card Readers: System compatible with major access control technologies for owner-provided card readers of suitable dimensions to be mounted onto pedestals. Must support integration of multiple card readers at each mounting location by manufacturer.

      - Card Reader Mounting at pedestal ends:

        - Under, or surface-mounted on Corian decorative top part

        - Option at pedestal ends behind acrylic window or surface-mounted.

- Manufacturer-supplied Accessories

  - Touchscreen Remote Control: Optional

    - Operational Mode Control through Touchscreen control.

      - Optical turnstile mode.

      - Normal mode.

      - Visitor entry

    - Provide Visitor Buttons allowing an unlimited number of visitors to pass through the lane in the entry or exit direction.

      - Once the visitors have entered and the system no longer sees anyone entering or exiting for 3 seconds, the beam operations return to their original security setting.

    - Provide indication designed to illuminate when an alarm is activated to provide a visual indication of the lane alarm status.

    - Provide real time population count.

  - Remote Console: Optional

    - Provide Visitor Buttons allowing an unlimited number of visitors to pass through the lane in the entry or exit direction

    - Provide Alarm Indication

    - Key switch

  - Floor Protectors: Optional. Modular system designed to support turnstile pedestals without need for drilling mounting bolts into floor or running a conduit under floor between pedestals for cables.

  - Fastlane Infill System: Optional. A series of decorative glass modular panels that guide users in a desired direction, while complimenting turnstile design.

  - ENVIRONMENTAL

A      Product use:

1.  Energy consumption per lane: 105kW hours per annum.

2.  Maintenance: Annual Interval 12 month interval minimum.

  - SUSTAINABILITY

- The product is recyclable at end of life. The following materials are to be distributed to appropriate recycling facilities resulting in a very low residual waste of non-recyclable material.

  - Stainless Steel (sheet material 1mm to 1.5mm thickness)

  - Mild Steel (sheet material 1.2 to 3mm thickness)

  - Plastics

  - Printed circuit boards

  - Special components e.g. power supply modules

- The product is supplied on reusable plastic pallets with recyclable carton packaging comprising of the following materials.

  - Corrugated fiber board

  - Foam

  - Polyethylene

Part III – Execution

3.01   Site Examination

- Inspection: Installer / Integrator shall examine the installation and advise the contractor of any site conditions unacceptable for proper installation of product.

- Finished floor substrate must be dead level within the footprint of the turnstile.

- Main supply service for power supply and low voltage power out & control wiring must be installed.

- Installation: Turnstiles shall be installed in accordance with manufacturer’s Fastlane Installation & Maintenance manual.

- Setup & Adjustment: Installer / Integrator shall perform initial equipment electronic adjustments to ensure proper performance after installation.

- Instruction: Installer / Integrator with a minimum of 3 years experience installing Fastlane optical turnstiles shall furnish operator training for end user, or provide for Smarter Security Site Certification & Training services during installation.

- Cleaning: Clean metal, acrylic and glass surfaces carefully after installation to remove excess caulk, dirt, and labels.

[Smarter Security reserves the right to change this specification without notice.]

END OF SECTION